🔧 Technical Specifications

Power Consumption: 14W

Operating Voltage: 150V – 250V

Base Type: E27

Dimensions: Ø70 x 128 mm

Beam Angle: 180°

Power Factor (PF): 0.5

Maximum Current: 0.15A

Luminous Efficacy: 85–95 lm/W

Luminous Flux: 1190–1330 lm

Color Temperature (CCT): 3000K (warm white) or 6500K (cool white)

Color Rendering Index (CRI): ≥ 83

Lifespan: 20,000 hours

On/Off Cycles: 50,000 times

Start Time: < 0.5 seconds

Material: Aluminum-plastic housing, durable and good heat dissipation

Mercury Content: 0 mg