Technical Specifications

Model: AT06.V2 90/7W

Power Consumption: 7W

Operating Voltage: 220V / 50Hz

Power Factor: 0.5

Current (Max): 90 mA

Luminous Flux: 700 lm

Luminous Efficacy: 100 lm/W

Color Temperature (CCT): 3000K (Warm White), 4000K (Neutral White), 6500K (Cool White)

Color Rendering Index (CRI): ≥ 80

Beam Angle: 110°

Cut-out Diameter: 90 mm

Dimensions: Ø114 x 44 mm

Lifespan: 25,000 hours

On/Off Cycles: 50,000 times

Startup Time: < 0.5 seconds

Energy Efficiency Class: A+