Technical Specifications

Model: LN12 70x160/5W

Power Consumption: 5W

Operating Voltage: 150–250V / 50Hz

Luminous Flux: 450–500 lumens

Color Temperature Options: 3000K (Warm White), 4000K (Neutral White), 6500K (Cool White)

Color Rendering Index (CRI): ≥ 80

Beam Angle: 120°

Lifespan: 25,000 hours

Ingress Protection (IP) Rating: IP54 (dust and water-resistant)

Material: Flame-retardant polycarbonate (PC)

Dimensions (L × W × H): 160 × 70 × 60 mm

Installation Orientation: Horizontal or verticalRang Dong+7