Technical Specifications

Power Consumption: 12W

Operating Voltage: 12–24VDC

Operating Voltage Range: 11–28.5VDC

Maximum Current: 1.1A

Luminous Flux: 1100 lm

Color Temperature: 6500K (cool white)

Color Rendering Index (CRI): ≥80

Beam Angle: 180°

Lifespan: 20,000 hours

On/Off Cycles: 50,000 times

Startup Time: < 0.5 seconds

Energy Efficiency Class: A++

Material: Aluminum-plastic housing

Mercury Content: 0 mg